dBF Associates, Architects

Charlottesville/Albemarle Airport

ARFF Building Renovation

Albemarle County, VA

PREBID MEETING MINUTES/ADDENDUM #1

November 13, 2024

- Attendees at the 10/11/23 PreBid Meeting were Rick Funk (dBF Associates, Architects), Jason Devillier (CHO), Chief Jonathan Shenk (CHO), Jared Andrews, Johnny Bonilla, Billy Marshall and Aaron Reed via telephone.  Please see Attachment ‘A’ for the PreBid Conference sign-in sheet.

- All persons interested in touring the building shall contact Jason Devillier, Director of Operations, Maintenance & Construction for the Airport.  His phone number is (434) 973-8342, Ext 103 and his email address is jdevillier@gocho.com.

- The General Contractor that is awarded the project shall go through the airport badging process.  A limited number of badges will be issued, and there must be a badged Contractor rep on site at all times if other workers are present.  Access to the building will be through the pedestrian gate.  All parking shall be in the Overflow Lot, and vehicles with signage of the Contractor shall be allowed to park on grounds.  Portable toilets shall be located inside the fence area.

- All work can be done 7 days/week, 24 hours a day.

- The awarded General Contractor shall submit for Building Permit.  All fees associated with the Permit shall be the responsibility of the General Contractor.

- Liquidated Damages shall be as noted in Item 5. of the CONTRACT DOCUMENT located in the Specifications.

- Davis-Bacon wages are not required for this project.

- Payroll Reports may be required on the project, but Certified Payrolls will not be required.

- This project has no Federal funds involved.

- All documented material lead-time delays or Building Permit delays shall not be added to the Contract time duration.

- All new Bath work can occur at the General Contractors wishes.  The Owner shall not need access to these Bathrooms during construction.

- The Owner shall furnish all Kitchen appliances, and the General Contractor shall install these appliances.  All coordination of this work shall be the responsibility of the General Contractor.

END OF ADDENDUM #1