dBF Associates, Architects

Charlottesville/Albemarle Airport

ARFF Building Renovation

Albemarle County, VA

ADDENDUM #3

November 25, 2024

To: Contractors and all others to whom Drawings and Specifications have been issued.

The Contract Documents for the project consisting of Drawings and Specifications dated November 4, 2024, Addendum #1 dated November 13, 2024 and Addendum #2 dated November 18, 2024 shall be modified as follows:

- Section 10800 in the Specifications shall have the following items added:

- Section 2.1.A.6  Shower Seat:  Bobrick B-5181 or approved equal.

- Section 2.1.A.7  Shower Rod:  Bobrick B-207 or approved equal.

- The new aluminum storefront system shall be Kawneer Trifab 451UT Framing System, or approved equal.

- The new metal windows noted in the Window Schedule shall be Kawneer 8400TL Thermal Windows, or approved equal.

- The new window treatments shall be located at the new west-facing glazing in the Kitchen (Room 112) and Training Room ‘A’ (Room 116).

- All shelving units noted for the Custodial Supply Room (Room 101) shall be REIBII 3000LBS Huge Garage Metal Shelving Units, or approved equal.

- For inspection and confirmation of existing floor, wall and ceiling materials that are to either remain or be demolished, all General Contractors are advised to contact Jason Devillier at CHO to schedule a visit to the site.  Refer to Item 2 in Addendum #1 for his contact information.

END OF ADDENDUM #3