dBF Associates, Architects

Charlottesville/Albemarle Airport

ARFF Building Renovation

Albemarle County, VA

ADDENDUM #4

December 4, 2024

To: Contractors and all others to whom Drawings and Specifications have been issued.

The Contract Documents for the project consisting of Drawings and Specifications dated November 4, 2024, Addendum #1 dated November 13, 2024, Addendum #2 dated November 18, 2024 and Addendum #3 dated November 25, 2024 shall be modified as follows:

- Addendum #1, Item 12 shall be modified to include Laundry appliances as well.

- Delete Section 09650, 2.1.B.  There is no LVT in this project.

- All Room Finishes noted for Room 117 Vestibule shall be installed in the area to the East of the Bathrooms/Laundry as well.

- Delete Section 01500, 2.1.E.  A job trailer is not necessary, and the General Contractor can set up an office in one of the rooms in the building.

- Delete Section 01500, 2.1.G.c

- Delete Section 01500. 2.1.K.c through l.  Only sections a. and b. shall apply to this project.

- The generator shall be furnished by the Owner.  The Contractor shall provide materials and labor necessary to make the electrical connection per Sheet E10.  It shall be tied into the existing electrical distribution system with an automatic transfer switch per the Power Riser Diagram on Sheet E2.  Note ‘A’ on the Power Riser Diagram states “Owner provided/Contractor installed diesel standby generator…”, and includes conduit/wire sizes to make the electrical connection.  The gas line shall be piped to the North side of the building by the Owner, and the Contractor shall make the connection.

- The finishes for Room 122 Laundry shall be as noted in the Finish Schedule.

- Bathrooms 118, 119, 120 and 121 shall have full-height ceramic wall tile in the Shower only.  All other finishes shall be as noted in the Finish Schedule.

- Bathroom 210 shall have ceramic floor tile and full-height ceramic wall tile in the Shower only.  All other finishes shall be as noted in the Finish Schedule.

- All ceramic base shall be 4” cove as noted in the Specifications.

1/2

- The ACT in Room 112 Kitchen shall be 24” x 48” Armstrong 672.  This includes all ceiling west of the west jamb of Door 111.  All other ACT shall be Armstrong 24” x 48”, to match the existing ceiling.

- Delete reference to 1.1.B.1.e, 1.1.B.1.h and 1.1.B.1.i from Section 09900 in the Specifications.

- Section 09250, 2.1.A.5 shall be revised to read ½” (one half inch).

END OF ADDENDUM #4