dBF Associates, Architects

Charlottesville/Albemarle Airport

ARFF Building Renovation

Albemarle County, VA

ADDENDUM #5

December 9, 2024

To: Contractors and all others to whom Drawings and Specifications have been issued.

The Contract Documents for the project consisting of Drawings and Specifications dated November 4, 2024, Addendum #1 dated November 13, 2024, Addendum #2 dated November 18, 2024, Addendum #3 dated November 25, 2024 and Addendum #4 dated December 4, 2024 shall be modified as follows:

- The shelving in Room 108 Pantry shall be the same as in Room 101 Custodial Supply Room, except the shelves shall only be 16” deep per Note 15 on Sheet A1.  Refer to Addendum #3, Item 5 for additional shelving information.

- Any structural modifications required to the existing bar joists for the installation of the Add Alternate movable partition shall be a Change Order to the project.

- Item 12 in Addendum #4 is further clarified as follows:  All non-Kitchen ACT shall be 24” x 48” x 5/8” Armstrong Cortega #769 square lay-in tile, or approved equal.

- All new wall framing shall be wood studs, not metal, to match existing.

- On Page 2 of the Bid Form, there are only 4 lines for Addenda.  All Bidders shall add a fifth line and include this Addendum for record purposes.

END OF ADDENDUM #5